## Bilgi Sayfası
PROJECT INFO
Hydraulic Load
Organic Load
Elimination of BOD in Pre Treatment
Treated Organic Load in PlanetDISK® RBC Unit
Wastewater Temperature
Accepted Temperature
Wastewater Retention Time in PlanetDISK® RBC Unit
*These parameters are directly given by client. / chosen according to our experiences and literature reviews.
Wastewater Source
Only domestic wastewater from toilets, sinks, shower, dishwash and laundry. Wastewater should not contain any chemicals which is harmful for the bacteria inside wastewater. Rainwater and swimming pool water which may contain chlorine and chemicals should not be allowed into the ST system. Fat, Oil and Grease (FOG) should not be allowed into the system. Wastewater from kitchens definitely should pass through oil traps in kitchens.
Proposed System
Disk Surface Area Calculation