## Capex
CAPEX
Yıldız Holding |  |  |  |  | Offer Number : 0346
Offer Reference Number : YDS R0 06 08 2026 1 MX 1 70 25 114
No | Description | Piece | Unit Price | Total Price | Discount rate | Total Price after Discount
1. | MECHANICAL EQUIPMENT
1.1. | Physical Treatment Units (Primary Treatment)
1.1.1. | Coarse and Fine Screen Options
1.1.1.1. | Manually Cleaned Coarse Screen | 1 | $ 912.00 | $ 912.00 | %0 | $ 912.00
1.1.1.2. | Manually Cleaned Fine Screen | 1 | $ 958.00 | $ 958.00 | %0 | $ 958.00
1.1.2. | Grit-Oil Trap Plates | 4 | $ 126.00 | $ 504.00 | %0 | $ 504.00
1.1.3. | Feeding Pump (1 duty + 1 standby) - City Pumps Ranger 10 35 | 2 | $ 542.30 | $ 1,084.60 | %0 | $ 1,084.60
1.2. | Biological Treatment Units (Secondary Treatment)
1.2.1. | PlanetDISK® MX 1 RBC Unit; - Epoxy Painted AISI 1045 (C45) Carbon Steel Solid Shaft, - Wet Parts SS304 Stainless and Galvanized Coated Steel, - 114 disk / unit per Shaft, - Disk Surface Area 8,098.76 ft² / unit | 1 | $ 32,036.00 | $ 32,036.00 | %0 | $ 32,036.00
1.2.2. | LS_15 Lamella Separator Final Clarifier Tank | 1 | $ 7,224.00 | $ 7,224.00 | %0 | $ 7,224.00
1.2.3. | smt 100A Final Clarifier Tank Sludge Pump | 1 | $ 395.85 | $ 395.85 | %0 | $ 395.85
1.2.4. | Recirculation Pump (1 duty + 1 standby) - City Pumps Ranger 10 35 | 2 | $ 542.30 | $ 1,084.60 | %0 | $ 1,084.60
1.2.5. | Denitrifikasyon Tank Mixer | 1 | $ 26,825.00 | $ 26,825.00 | %0 | $ 26,825.00
1.2.6. | FeCl3 Coagulant Dosing System | 1 | $ 29,725.00 | $ 29,725.00 | %0 | $ 29,725.00
1.3. | Filtration and Disinfection Units (Advanced Treatment)
1.3.1. | Pre-Chlorination System | 1 | $ 732.00 | $ 732.00 | %0 | $ 732.00
1.3.2. | Filtration System Feeding Pump | 1 | $ 1,018.00 | $ 1,018.00 | %0 | $ 1,018.00
1.3.3. | Filtrasyon System Backwash Pump) | 1 | $ 1,200.00 | $ 1,200.00 | %0 | $ 1,200.00
1.3.4. | Separator Filter | 1 | $ 648.00 | $ 648.00 | %0 | $ 648.00
1.3.5. | Fully Automatic Multimedia Filtration System | 1 | $ 11,500.00 | $ 11,500.00 | %0 | $ 11,500.00
1.3.6. | Fully Automatic Activated Carbon Filtration System | 1 | $ 12,650.00 | $ 12,650.00 | %0 | $ 12,650.00
1.4. | Sludge Dewatering Unit
1.4.1. | Sludge Feed Pump | 1 | $ 725.00 | $ 725.00 | %0 | $ 725.00
1.4.2. | Decanter | 1 | $ 54,375.00 | $ 54,375.00 | %0 | $ 54,375.00
1.4.3. | Polymer Preparation and Dosing Unit | 1 | $ 6,162.50 | $ 6,162.50 | %0 | $ 6,162.50
1.4.4. | Filtrate Water Pump | 1 | $ 580.00 | $ 580.00 | %0 | $ 580.00
1.5. | Membrane System
1.5.1. | Planet Membrane System (Including all equipments and instruments) | 1 | $ 16,416.90 | $ 16,416.90 | %0 | $ 16,416.90
2. | CIVIL WORKS
2.0.1. | Screen and Grit-Oil Trap Channel | ALL CIVIL WORKS WILL BE DONE BY CLIENT
2.0.2. | Anoxic Denitrification Tank
2.0.3. | First Primary Sedimentation Tank
2.0.4. | Second Primary Sedimentation Tank
2.0.5. | Equalization Tank
2.0.6. | Treated Water Tank
2.0.7. | Filtered Water Tank
2.0.8. | Sludge Tank
3. | INSTALLATION MATERIAL
3.0.1. | All piping and electrical installation works | 1 | $ 3,817.00 | $ 3,817.00 | %0 | $ 3,817.00
4. | ELECTRICAL WORKS
4.0.1. | PlanetDISK® Control Panel | 1 | $ 6,121.00 | $ 6,121.00 | %0 | $ 6,121.00
5. | TRANSPORTATION
5.0.1. | 40' HC Container | 1 | $ 13,027.00 | Optional | %0 | Optional
5.0.2. | Truck | 1 | $ 0.00 | Optional | %0 | Optional
TOTAL |  |  |  | $ 216,694.45 | Total Discount | $ 0.00
*Optional and Supply Locally equipment are not included in the total price. |  |  |  | Grand Total Discounted Price |  | $ 216,694.45
* V.A.T. , All Other Expenses and Taxes are EXCLUDED
* EXWORKS PlanetTEK Kocaeli Gebze Factory
* Validity : 30 days
Supply locally : equipment should be obtained locally for better warranty conditions.