## EnerjiIsletme
ENERGY OPERATION COST
Total Hydraulic Load | 18,492.04 GPH |  | Unit Installed Power | Total Installed Power | Power Consumed | Daily Working | Electricity Consumption
Energy Price for 1 kW.hour | 15.02 $ cent
MECHANICAL EQUIPMENTS |  | Unit | kW | kW | % | hour | kW.hour/day
Physical Treatment Units (Primary Treatment)
Equalization Tank Feed Pump |  | 1 | 0.80 | 0.80 | 90% | 24 | 17.28
Biological Treatment Units (Secondary Treatment)
PlanetDISK® MX RBC Unit |  | 1 | 0.37 | 0.37 | 90% | 24 | 7.99
Secondary Clarifier Sludge Pump |  | 1 | 0.80 | 0.80 | 90% | 1 | 0.72
Recirculation Pumps |  | 1 | 0.80 | 0.80 | 90% | 24 | 17.28
Anoxic Tank Mixer |  | 1 | 0.40 | 0.40 | 90% | 24 | 8.64
FeCl3 Dosing Pump |  | 1 | 0.09 | 0.09 | 90% | 24 | 1.94
Filtration and Disinfection Units (Advanced Treatment)
Pre-Chlorination Unit |  | 1 | 0.09 | 0.09 | 90% | 22 | 1.78
Filtration System Feed Pump |  | 1 | 2.20 | 2.20 | 90% | 22 | 43.56
Filtration System Backwash Pump |  | 1 | 2.20 | 2.20 | 90% | 2 | 3.96
Sludge Dewatering Unit
Sludge Feed Pump |  | 1 | 1.50 | 1.50 | 90% | 8 | 10.80
Decanter |  | 1 | 11.50 | 11.50 | 90% | 8 | 82.80
Filtrate Water Pump |  | 1 | 0.75 | 0.75 | 90% | 8 | 5.40
Polymer Dosing Unit |  | 1 | 1.10 | 1.10 | 90% | 8 | 7.92
Planet Membran System
Membrane Feeding Pump |  | 1 | 20.00 | 20.00 | 90% | 8 | 144.00
Membrane Recirculation Pump |  | 1 | 20.00 | 20.00 | 90% | 8 | 144.00
NaOCl Dosing Pump |  | 1 | 0.10 | 0.10 | 90% | 4 | 0.36
Citric Acid Dosing Pump |  | 1 | 0.10 | 0.10 | 90% | 4 | 0.36
Blower |  | 1 | 20.00 | 20.00 | 90% | 8 | 144.00
TOTAL ELECTRICITY CONSUMPTION | [6 empty] | 642.80
Electricity consumption per 1 gal wastewater | [5 empty] | 0.03 | kW.hour / gal
Electricity consumption per 1 gal wastewater | [5 empty] | 0.52 | cent / gal
Electricity Consumption Cost | [5 empty] | 96.55 35,241 | $ / day $ / year
*** "Energy Price for kw/hour = 13 $ cent" is the rate in TURKEY & given for comparison purposes