## Parametre
Parameter | unit | Influent (*) | Effluent (!)
Design Flow Rate (Q) | GPD | 18,492 | -
Daily BOD₅ Load | lb/d | 54.01 | -
Plant Design Flow Rate | GPM | 12.86 | -
Biochemical Oxygen Demand (BOD₅) | mg/L | 350 | 40
BOD After Tertiary Treatment | mg/L | 350 | 32
Chemical Oxygen Demand (COD) | mg/L | 630 | 72
Total Suspended Solids (TSS) | mg/L | 350 | <40
Total Nitrogen (TN) | mg/L | 60 | 10
Total Phosphorus (TP) | mg/L | 10 | 3
Oil and Grease | mg/L | ≤25 | <20
pH | - | 6 – 9 | 6 – 9
Wastewater Temperature | °F | 59 - 90 | 59 - 90
Accepted Temperature | °F | 66 | -